## Slide 1: Temperature & Humidity Sensing
Jason Pearson • Justin Koehler • Percel Dangledryer

## Slide 2: Introduction
Background
Design Decisions
Design
Implementation
Testing
Maintenance
Security
Summary

## Slide 3: Background
Current Setup:
  1 Temperature@lert sensor in each server room.
  Too few sensors relative to the high cost of equipment
  No central management server

## Slide 4: Background – Why More
Notes: Don’t forget to doctor this picture
Animate dead zones

## Slide 5: Background – Previous Team
Developed site that communicates with current sensors.
Features include room/group management and user authentication with permission levels
Implementation in Laravel 3
Sensors report only real-time temperature

## Slide 6: Background – Unmet Needs
Additional metrics desired such as humidity
Ability to connect to sensors other than Temperature@lert
In-house built sensors that are
  Extensible
  Low-cost
  Modifiable
  Open source

## Slide 7: Background - Client
Western Michigan University
  Dr. John Kapenga

## Slide 8: Design Decisions - Environment
Raspberry Pi
  Low-cost
  Readily available
  Widely documented
  Extensible
Laravel
  Open source
  Most popular PHP framework
  Secure
  Reliable MVC
Externally Hosted
  Safe off-site location
  Easy maintenance
Notes: Pi – cheap, overnightable from

## Slide 9: Design Decisions - Improvement
Boot Strap
  Open source
  Well Documented
  Tablet and Phone Support
Google Charts
  Open source
  Mobile support
Notes: Pi – cheap, overnightable from

## Slide 10: Design Decisions - Language
Sensor driver
  Python for speed, doesn’t need compilation
Web Site
  LAMP Stack
  Laravel Framework
Notes: LAMP – elaborate to it standing for linux, apache2, mysql, php – all open source, free, secure, fast, reliable
Laravel – secure,

## Slide 11: Design Decisions - Hardware
DHT22 Sensor
  Temperature Accuracy ±0.5º C
  Temperature Range -40 to 80°C
  Humidity Accuracy ±0.1Φ
  Humidity Range 0-100%
Raspberry Pi
  Expandable to 17 concurrent sensors
  Runs a full web server
Wireless N adapter
  Long range
  Low price
Notes: Φ is relative humidity
Web server - debugging

## Slide 12: Design
Laravel
Pi
Sensor
Pi Hosted XML
MySQL
PHP
Apache
Linux

## Slide 13: Design – Pi and Sensor Communication
Uses Python to communicate to the device
Python sends a request
Sensor responds
Output written to XML file

## Slide 14: Design – Pi and Server Communication
Apache hosts XML file for server to retrieve
Server has different drivers for different devices
Parses XML according to driver
Temperature information handled by server
Notes: Admin choose refresh interval – 1 minute, 2 minute, 5, 10 etc
Apache hosts, server fetches, server stores in mysql, server queries database for specified drivers with time range, laravel preprocesses php, bootstrap renders based on device

## Slide 15: Implementation
Notes: Get a new picture, sucka

## Slide 16: Implementation – The Rest Of The Story
Pictures of site mockups
Google charts displaying the data
Pictures of sensor, pi, both connected (and separate)
Colorful picture of a brief section of code – code that talks to sensor (python snippet where it calls the library)
Notes: Pictures of site mockups
Google charts displaying the data
Pictures of sensor, pi, both connected (and separate)
Colorful picture of a brief section of code – code that talks to sensor (python snippet where it calls the library)

## Slide 17: Testing – What Was Used
Laravel built in testing framework
One hundred virtual sensors for load testing
Extreme temperature sensing
Notes: P-unit logo
Add testing room, add testing devices, write testing code

## Slide 18: Security
Yes Percel, what security is in place?
Laravel Sessions
Input Sanitization
Passwords Hashed

## Slide 19: Possible Enrichments
HTTP used for hosting XML on pi but HTTPS could be used instead if extra security is desired
Upgrade to newer web framework
Reporting for other sensors such as
  Movement
  Radiation
  CO or CO2 Levels
  Vibration sensing
  Laser break beam sensing
Notes: (for earthquake prone states…california…)

## Slide 20: TODO
http://stackoverflow.com/questions/561066/php-fatal-error-allowed-memory-size-of-134217728-bytes-exhausted-codeigniter
Change query for main page less stuff
Change page to fetch only specified interval, refresh if changed
For more than 1 day, do min, max, avg for each day 3 is better than 24*60

## Slide 21: Summary
Loo Loo Loo, I didn’t come to any meetings, loo loo loo.

## Slide 22: Questions?